List of stereotye to categorize subProfiles ShortCircuit Description Operation European Abstract Entsoe

# Concrete Classes

CEEDS RequestPermission Version This is the IEC 61970 CIM version number assigned to this UML model. Native Members date 0..1 !!classifier error!! Form is YYYY-MM-DD for example for January 5, 2009 it is 2009-01-05. version 0..1 !!classifier error!! Form is IEC61970CIMXXvYY where XX is the major CIM package version and the YY is the minor version. For example IEC61970CIM13v18.

MarketEvaluationPoint CEEDS RequestPermission contextual model The location where one or more products are measured. This may be a physical or virtual location. Native Members mRID 1..1 MeasurementPointID_String A unique identification of the measurement point. In the ESMP context, the "model authority" is defined as an authorized issuing office that provides an agreed identification coding scheme for market participant, domain, measurement point, resources (generator, lines, substations, etc.) identification. Master resource identifier issued by a model authority. The mRID is globally unique within an exchange context. Global uniqueness is easily achieved by using a UUID for the mRID. It is strongly recommended to do this. For CIMXML data files in RDF syntax, the mRID is mapped to rdf:ID or rdf:about attributes that identify CIM object elements.

MarketEvaluationPoint CEEDS RequestPermission assembly model The location where one or more products are measured. This may be a physical or virtual location. Native Members mRID 1..1 MeasurementPointID_String A unique identification of the measurement point. In the ESMP context, the "model authority" is defined as an authorized issuing office that provides an agreed identification coding scheme for market participant, domain, measurement point, resources (generator, lines, substations, etc.) identification. Master resource identifier issued by a model authority. The mRID is globally unique within an exchange context. Global uniqueness is easily achieved by using a UUID for the mRID. It is strongly recommended to do this. For CIMXML data files in RDF syntax, the mRID is mapped to rdf:ID or rdf:about attributes that identify CIM object elements.

| MarketParticipant CEEDS RequestPermission contextual model The identification of the party participating in energy market business processes. Native Members |  |  |
| --- | --- | --- |
| mRID | 1..1 PartyID_String | The identification of a party in the energy market. In the ESMP context, the "model authority" is defined as an authorized issuing office that provides an agreed identification coding scheme for market participant, domain, measurement point, resources (generator, lines, substations, etc.) identification. Master resource identifier issued by a model authority. The mRID is globally unique within an exchange context. Global uniqueness is easily achieved by using a UUID for the mRID. It is strongly recommended to do this. For CIMXML data files in RDF syntax, the mRID is mapped to rdf:ID or rdf:about attributes that identify CIM object elements. |
| MarketRole | [1..1] MarketRole | The role associated with a MarketParticipant. |

MarketRole CEEDS RequestPermission contextual model The identification of the intended behaviour of a market participant played within a given business process. Native Members type 1..1 MarketRoleKind_String The identification of the role played by a market player.

MessageDocumentHeader CEEDS RequestPermission contextual model Native Members creationDateTime 0..1 ESMP_DateTime MetaInformation [1..1] MetaInformation

| MetaInformation Native Members |  |  | CEEDS RequestPermission contextual model |
| --- | --- | --- | --- |
| asset | 0..1 | String | A qualification of the type of document, comparable to the MessageTypeList in the CIM part of the message. Note: This is applicable if you have the need to know the content without having to open the complete document. DocumentType might contain messages not (yet) part of the MessageTypeList. |
| connectionId | 0..1 | String |  |
| dataNeedId | 0..1 | String |  |
| dataSourceId | 0..1 | String | A qualification of the type of document, comparable to the |

MessageTypeList in the CIM part of the message. Note: This is applicable if you have the need to know the content without having to open the complete document. DocumentType might contain messages not (yet) part of the MessageTypeList. documentType 0..1 String A qualification of the type of document, comparable to the MessageTypeList in the CIM part of the message. Note: This is applicable if you have the need to know the content without having to open the complete document. DocumentType might contain messages not (yet) part of the MessageTypeList. finalCustomerId 0..1 String A qualification of the type of document, comparable to the MessageTypeList in the CIM part of the message. Note: This is applicable if you have the need to know the content without having to open the complete document. DocumentType might contain messages not (yet) part of the MessageTypeList. requestPermissionId 0..1 String Region [1..1] Region

MktActivityRecord CEEDS RequestPermission contextual model Subclass of IEC61968: Common:ActivityRecord. Native Members createdDateTime 0..1 ESMP_DateTime Date and time this activity record has been created (different from the 'status.dateTime', which is the time of a status change of the associated object, if applicable). description 0..1 String The description is a free human readable text describing or naming the object. It may be non unique and may not correlate to a naming hierarchy. mRID 1..1 String Master resource identifier issued by a model authority. The mRID is unique within an exchange context. Global uniqueness is easily achieved by using a UUID, as specified in RFC 4122, for the mRID. The use of UUID is strongly recommended. For CIMXML data files in RDF syntax conforming to IEC 61970-552 Edition 1, the mRID is mapped to rdf:ID or rdf:about attributes that identify CIM object elements. name 0..1 String The name is any free human readable and possibly non unique text naming the object. reason 0..1 ReasonCode_String Reason for event resulting in this activity record, typically supplied when user initiated. status 0..1 Status_String Information on consequence of event resulting in this activity record. type 0..1 String Type of event resulting in this activity record.

MktActivityRecord CEEDS RequestPermission assembly model Subclass of IEC61968: Common:ActivityRecord. Native Members createdDateTime 0..1 ESMP_DateTime Date and time this activity record has been created (different from the 'status.dateTime', which is the time of a status change of the associated object, if applicable). description 0..1 String The description is a free human readable text describing or naming the object. It may be non unique and may not correlate to a naming hierarchy. mRID 1..1 String Master resource identifier issued by a model authority. The mRID is unique within an exchange context. Global uniqueness is easily achieved by using a UUID, as specified in RFC 4122, for the mRID. The use of UUID is strongly recommended. For CIMXML data files in RDF syntax conforming to IEC 61970-552 Edition 1, the mRID is mapped to rdf:ID or rdf:about attributes that identify CIM object elements. name 0..1 String The name is any free human readable and possibly non unique text naming the object. reason 0..1 ReasonCode_String Reason for event resulting in this activity record, typically supplied when user initiated. status 0..1 Status_String Information on consequence of event resulting in this activity record. type 0..1 String Type of event resulting in this activity record.

Process CEEDS RequestPermission contextual model The formal identification of the business process in which a flow of information is exchanged. Native Members processType 1..1 ProcessKind_String The identification of the nature of process that the document addresses.

Reason CEEDS RequestPermission contextual model The motivation of an act. Native Members code 1..1 ReasonCode_String The motivation of an act in coded form. text 0..1 ReasonText_String The textual explanation corresponding to the reason code.

Reason CEEDS RequestPermission assembly model The motivation of an act.

Native Members code 1..1 ReasonCode_String The motivation of an act in coded form. text 0..1 ReasonText_String The textual explanation corresponding to the reason code.

Region CEEDS RequestPermission contextual model Native Members connector 0..1 String country 0..1 String

Request_Permission CEEDS RequestPermission contextual model Specific right or authorisation granted to individuals or entities to access certain resources, perform specific actions, or obtain certain privileges within a system or organisation. Native Members createdDateTime 1..1 ESMP_DateTime The date and time of the creation of the permission. mRID 1..1 ID_String transmissionSchedule 0..1 Duration

Request_Permission CEEDS RequestPermission assembly model Specific right or authorisation granted to individuals or entities to access certain resources, perform specific actions, or obtain certain privileges within a system or organisation. Native Members createdDateTime 1..1 ESMP_DateTime The date and time of the creation of the permission. mRID 1..1 ID_String transmissionSchedule 0..1 Duration

| RequestPermission_Envelope Native Members | CEEDS | RequestPermission | assembly model |
| --- | --- | --- | --- |
| messageDocumentHeader.creationDateTime | 0..1 | ESMP_DateTime |  |
| messageDocumentHeader.metaInformation.asset | 0..1 | String | A qualification of |
|  |  |  | the type of |
|  |  |  | document, |
|  |  |  | comparable to the |
|  |  |  | MessageTypeList |
|  |  |  | in the CIM part of |

Note:

This is applicable if you have the need to know the content without having to open the complete document.

DocumentType might contain messages not (yet) part of the MessageTypeList.

## messageDocumentHeader.metaInformation.connectionId	0..1	String

messageDocumentHeader.metaInformation.dataNeedId	0..1	String

messageDocumentHeader.metaInformation.dataSourceId	0..1	String	A qualification of the type of document, comparable to the MessageTypeList in the CIM part of the message.

Note:

This is applicable if you have the need to know the content without having to open the complete document.

DocumentType might contain messages not (yet) part of the MessageTypeList.

messageDocumentHeader.metaInformation.documentType	0..1	String	A qualification of the type of document, comparable to the MessageTypeList in the CIM part of the message.

Note:

This is applicable if you have the need to know the content without having to open the complete document.

DocumentType might contain messages not (yet) part of the MessageTypeList.

messageDocumentHeader.metaInformation.finalCustomerId	0..1	String	A qualification of the type of document, comparable to the MessageTypeList in the CIM part of

| Note: |  |  |
| --- | --- | --- |
| This is applicable |  |  |
| if you have the |  |  |
| need to know the |  |  |
| content without |  |  |
| having to open |  |  |
| the complete |  |  |
| document. |  |  |
| DocumentType |  |  |
| might contain |  |  |
| messages not |  |  |
| (yet) part of the |  |  |
| MessageTypeList |  |  |
| messageDocumentHeader.metaInformation.region.connector | 0..1 | String |
| messageDocumentHeader.metaInformation.region.country | 0..1 | String |
| messageDocumentHeader.metaInformation.requestPermissionId 0..1 String |  |  |
| MarketDocument [0..1] RequestPermission_MarketDocument |  |  |

.

RequestPermission_Envelope CEEDS RequestPermission contextual model Native Members MessageDocumentHeader [1..1] MessageDocumentHeader MarketDocument [0..1] RequestPermission_MarketDocument

RequestPermission_MarketDocument CEEDS RequestPermission contextual model An electronic document containing the information necessary to satisfy the requirements of a given business process. Native Members description 0..1 String The description is a free human readable text describing or naming the object. It may be non unique and may not correlate to a naming hierarchy. mRID 0..1 ID_String The unique identification of the document being exchanged within a business process flow. In the ESMP context, the "model authority" is defined as a party (originator of the exchange) that provides an identification in the context of a business exchange such as document identification, ... Master resource identifier issued by a model authority. The mRID is globally unique within an exchange context. Global uniqueness is easily achieved by using a UUID for the mRID. It is strongly recommended to do this. For CIMXML data files in RDF syntax, the mRID is mapped to rdf:ID or rdf:about attributes that identify CIM object elements. revisionNumber 0..1 ESMPVersion_String The identification of the version that distinguishes one evolution of a document from another.

| type | 0..1 | MessageKind_String | The coded type of a document. The document type describes the principal characteristic of the document. |
| --- | --- | --- | --- |
| Sender_MarketParticipant | [1..1] | MarketParticipant | The MarketParticipant associated with an electronic document header. |
| Receiver_MarketParticipant [1..1] |  | MarketParticipant | The MarketParticipant associated with an electronic document header. |
| Process | [1..1] | Process | The Process associated with an electronic document header that is valid for the whole document. |
| Request_Permission | [0..1] | Request_Permission |  |
| Period | [1..1] | Time_Period | The time interval that is associated with an electronic document and which is valid for the whole document. |

| RequestPermission_MarketDocument CEEDS RequestPermission assembly model An electronic document containing the information necessary to satisfy the requirements of a given business process. Native Members |  |  |  |
| --- | --- | --- | --- |
| description | 0..1 | String | The description is a free human readable text describing or naming the object. It may be non unique and may not correlate to a naming hierarchy. |
| mRID | 0..1 | ID_String | The unique identification of the document being exchanged within a business process flow. In the ESMP context, the "model authority" is defined as a party (originator of the exchange) that provides an identification in the context of a business exchange such as document identification, ... Master resource identifier issued by a model authority. The mRID is globally unique within an exchange context. Global uniqueness is easily achieved by using a UUID for the mRID. It is strongly recommended to do this. For CIMXML data files in RDF syntax, the mRID is mapped to rdf:ID or rdf:about attributes that identify CIM object elements. |
| period.timeInterval | 1..1 | ESMP_DateTimeInterval | The start and end date and time for a given interval. --- The time interval that is associated with an electronic document and which is valid for the whole document. |
| process.processType | 1..1 | ProcessKind_String | The identification of the nature of process that the document addresses. --- The Process associated with an electronic document header that is valid for the whole document. |

receiver_MarketParticipant.marketRole.type 1..1 MarketRoleKind_String The identification of the role played by a market player. --- The MarketParticipant associated with an electronic document header. --- The role associated with a MarketParticipant. receiver_MarketParticipant.mRID 1..1 PartyID_String The identification of a party in the energy market. In the ESMP context, the "model authority" is defined as an authorized issuing office that provides an agreed identification coding scheme for market participant, domain, measurement point, resources (generator, lines, substations, etc.) identification. Master resource identifier issued by a model authority. The mRID is globally unique within an exchange context. Global uniqueness is easily achieved by using a UUID for the mRID. It is strongly recommended to do this. For CIMXML data files in RDF syntax, the mRID is mapped to rdf:ID or rdf:about attributes that identify CIM object elements. --- The MarketParticipant associated with an electronic document header. revisionNumber 0..1 ESMPVersion_String The identification of the version that distinguishes one evolution of a document from another. sender_MarketParticipant.marketRole.type 1..1 MarketRoleKind_String The identification of the role played by a market player. --- The MarketParticipant associated with an electronic document header. --- The role associated with a MarketParticipant. sender_MarketParticipant.mRID 1..1 PartyID_String The identification of a party in the energy market. In the ESMP context, the "model authority" is defined as an authorized issuing office that provides an agreed identification coding scheme for market participant, domain, measurement point, resources (generator, lines, substations, etc.) identification. Master resource identifier issued by a model authority. The mRID is globally unique within an exchange context. Global uniqueness is easily achieved by using a UUID for the mRID. It is strongly recommended to do this. For CIMXML data files in RDF syntax, the mRID is mapped to rdf:ID or rdf:about attributes that identify CIM object elements. --- The MarketParticipant associated with an electronic document header. type 0..1 MessageKind_String The coded type of a document. The

document type describes the principal characteristic of the document. Request_Permission [0..1] Request_Permission

Time_Period CEEDS RequestPermission contextual model The identification of a time interval or a duration. Native Members timeInterval 1..1 ESMP_DateTimeInterval The start and end date and time for a given interval.

TimeSeries CEEDS RequestPermission contextual model A set of time-ordered quantities being exchanged in relation to a product. In the ESMP profile, the TimeSeries provides not only time-ordered quantities but also time-ordered information. Native Members mRID 1..1 ID_String A unique identification of the time series. In the ESMP context, the "model authority" is defined as a party (originator of the exchange) that provides a unique identification in the context of a business exchange such as time series identification, bid identification, ... Master resource identifier issued by a model authority. The mRID is globally unique within an exchange context. Global uniqueness is easily achieved by using a UUID for the mRID. It is strongly recommended to do this. For CIMXML data files in RDF syntax, the mRID is mapped to rdf:ID or rdf:about attributes that identify CIM object elements.

TimeSeries CEEDS RequestPermission assembly model A set of time-ordered quantities being exchanged in relation to a product. In the ESMP profile, the TimeSeries provides not only time-ordered quantities but also time-ordered information. Native Members mRID 1..1 ID_String A unique identification of the time series. In the ESMP context, the "model authority" is defined as a party (originator of the exchange) that provides a unique identification in the context of a business exchange such as time series identification, bid identification, ... Master resource identifier issued by a model authority. The mRID is globally unique within an exchange context. Global uniqueness is easily achieved by using a UUID for the mRID. It is strongly recommended to do this. For CIMXML data files in RDF syntax, the mRID is mapped to rdf:ID or rdf:about attributes that identify CIM object elements.

# Enumerations

CodingSchemeTypeList ESMPEnumerations Codification scheme used to identify the coding scheme used for the set of coded values to identify specific objects. EIC The coding scheme is the Energy Identification Coding Scheme (EIC), maintained by ENTSO-E. GS1 The coding scheme for the preceding attribute is the Global Location Number (GLN 13) or Global Service Relation Number (GSRN 18), maintained by GS1. Andorra National coding The National coding scheme of the country in question. scheme Albania National coding The National coding scheme of the country in question. scheme Armenia National coding The National coding scheme of the country in question. scheme Austria National coding The National coding scheme of the country in question. scheme Azerbaijan National The National coding scheme of the country in question. coding scheme Bosnia and Herzegovina The National coding scheme of the country in question. National coding scheme Belgium National coding The National coding scheme of the country in question. scheme Bulgaria National coding The National coding scheme of the country in question. scheme Switzerland National The National coding scheme of the country in question. coding scheme Serbia and Montenegro The National coding scheme of the country in question. National coding scheme Czech Republic National The National coding scheme of the country in question. coding scheme Germany National coding The National coding scheme of the country in question. scheme Denmark National coding The National coding scheme of the country in question. scheme Estonia National coding The National coding scheme of the country in question. scheme Spain National coding The National coding scheme of the country in question. scheme Finland National coding The National coding scheme of the country in question. scheme France National coding The National coding scheme of the country in question. scheme United Kingdom National The National coding scheme of the country in question. coding scheme

Georgia National coding The National coding scheme of the country in question. scheme Gibraltar National The National coding scheme of the country in question. coding scheme Greece National coding The National coding scheme of the country in question. scheme Croatia National coding The National coding scheme of the country in question. scheme Hungary National coding The National coding scheme of the country in question. scheme Ireland National coding The National coding scheme of the country in question. scheme Italy National coding The National coding scheme of the country in question. scheme Kyrgyzstan National The National coding scheme of the country in question. coding scheme Kazakhstan National The National coding scheme of the country in question. coding scheme Liechtenstein National The National coding scheme of the country in question. coding scheme Lithuania National The National coding scheme of the country in question. coding scheme Luxembourg National The National coding scheme of the country in question. coding scheme Latvia National coding The National coding scheme of the country in question. scheme Morocco National coding The National coding scheme of the country in question. scheme Moldavia National coding The National coding scheme of the country in question. scheme Macedonia National The National coding scheme of the country in question. coding scheme Netherlands National The National coding scheme of the country in question. coding scheme Nordic Regional coding The coding scheme of the Nordic region which covers Denmark, Finland, Norway and Sweden. scheme Norway National coding The National coding scheme of the country in question. scheme Poland National coding The National coding scheme of the country in question. scheme Portugal National coding The National coding scheme of the country in question. scheme

Romania National coding The National coding scheme of the country in question. scheme

Russian Federation The National coding scheme of the country in question. National coding scheme

Sweden National coding The National coding scheme of the country in question. scheme

Slovenia National coding The National coding scheme of the country in question. scheme

Slovakia National coding The National coding scheme of the country in question. scheme

Turkey National coding The National coding scheme of the country in question. scheme

Ukraine National coding The National coding scheme of the country in question. scheme

CGM The coding scheme used for Common Grid Model Exchange Standard (CGMES).

Cyprus National coding The National coding scheme of the country in question. scheme

RoleTypeList ESMPEnumerations Identification of the role played by a party.

Trade responsible party Refer to role model definitions in the ENTSO-E Harmonised Role Model Document.

Consumption responsible Refer to role model definitions in the ENTSO-E Harmonised Role Model Document. party

Combined power exchange This role is no longer in the ENTSO-E Harmonised Role Model Document. (not to be used)

System operator Refer to role model definitions in the ENTSO-E Harmonised Role Model Document.

Imbalance settlement Refer to role model definitions in the ENTSO-E Harmonised Role Model Document. responsible

Production responsible Refer to role model definitions in the ENTSO-E Harmonised Role Model Document. party

Transmission capacity Refer to role model definitions in the ENTSO-E Harmonised Role Model Document. allocator

Balance responsible Refer to role model definitions in the ENTSO-E Harmonised Role Model Document. party

Metered data aggregator Refer to role model definitions in the ENTSO-E Harmonised Role Model Document.

Billing agent Refer to role model definitions in the ENTSO-E Harmonised Role Model Document.

Market operator Refer to role model definitions in the ENTSO-E Harmonised Role Model Document.

Energy supplier Refer to role model definitions in the ENTSO-E Harmonised Role Model Document.

Consumer Refer to role model definitions in the ENTSO-E Harmonised Role Model Document. Control area operator Refer to role model definitions in the ENTSO-E Harmonised Role Model Document. Control block operator Refer to role model definitions in the ENTSO-E Harmonised Role Model Document. Coordination centre Refer to role model definitions in the ENTSO-E Harmonised Role Model Document. operator Grid access provider Refer to role model definitions in the ENTSO-E Harmonised Role Model Document. Grid operator Refer to role model definitions in the ENTSO-E Harmonised Role Model Document. Meter administrator Refer to role model definitions in the ENTSO-E Harmonised Role Model Document. Party connected to grid Refer to role model definitions in the ENTSO-E Harmonised Role Model Document. Producer Refer to role model definitions in the ENTSO-E Harmonised Role Model Document. Profile maintenance Refer to role model definitions in the ENTSO-E Harmonised Role Model Document. party Meter operator Refer to role model definitions in the ENTSO-E Harmonised Role Model Document. Metered data collector Refer to role model definitions in the ENTSO-E Harmonised Role Model Document. Metered data responsible Refer to role model definitions in the ENTSO-E Harmonised Role Model Document. Metering point Refer to role model definitions in the ENTSO-E Harmonised Role Model Document. administrator Resource Provider Refer to role model definitions in the ENTSO-E Harmonised Role Model Document. Scheduling coordinator Refer to role model definitions in the ENTSO-E Harmonised Role Model Document. Capacity Trader Refer to role model definitions in the ENTSO-E Harmonised Role Model Document. Interconnection Trade Refer to role model definitions in the ENTSO-E Harmonised Role Model Document. Responsible Nomination Validator Refer to role model definitions in the ENTSO-E Harmonised Role Model Document. Market information Refer to role model definitions in the ENTSO-E Harmonised Role Model Document. aggregator A party that collects information from different sources and assembles it to provide a summary of the market. Information receiver Refer to role model definitions in the ENTSO-E Harmonised Role Model Document. A party, not necessarily a market participant, which receives information about the market. Reserve Allocator Refer to role model definitions in the ENTSO-E Harmonised Role Model Document. A party that informs the market of reserve requirements, receives tenders against the requirements and in compliance with the prequalification criteria, determines what tenders meet requirements and assigns tenders.

MOL Responsible Refer to role model definitions in the ENTSO-E Harmonised Role Model Document. A party that Informs the market of reserve requirements, receives tenders against the requirements and in compliance with the prequalification criteria, determines what tenders meet requirements and assigns tenders. Capacity Coordinator A party, acting on behalf of the SOs involved, responsible for establishing a coordinated Offered Capacity and/or NTC and/or ATC between several Scheduling Areas. Reconciliation Refer to role model definitions in the ENTSO-E Harmonised Role Model Document. Accountable A party that is financially accountable for the reconciled volume of energy products for a profiled local metering point. Reconciliation A party that is responsible for reconciling, within a metering grid area, the volumes used in the imbalance Responsible settlement process for profiled metering points and the actual metered quantities. Data provider A party that is responsible for providing information to a central authority. Local Issuing Office A party that is responsible for operating a Local Issuing Office (LIO). (LIO) Central Issuing Office A party that is responsible for operating a Central Issuing Office (CIO). (CIO) EIC Participant A party that participates in the EIC environment. Weather analyser A party that analyses the current and forecast weather situation and establishes a prognosis of its impact on the renewable energy environment as well as the overall load. Regional Security The RSC as defined in the System Operation guideline. Coordinator (RSC) Energy Service Company A party offering energy-related services to the Party Connected to Grid, but not directly active in the energy (ESCO) value chain or the physical infrastructure itself. The ESCO may provide insight services as well as energy management services. Balancing Service A party with reserve-providing units or reserve-providing groups able to provide balancing services to LFC Provider Operators. Energy trader A party that is selling or buying energy. LFC Operator A party that is responsible for the Load Frequency Control of its LFC Area or LFC Block. Transmission System The Transmission System Operator (TSO) is responsible for the transport of electricity on the extra high- Operator (TSO) voltage and high-voltage interconnected system. This is a market participant and not a role in Harmonised Role Model. Distribution System Distribution System Operator (DSO) is responsible for transport of electricity on high-voltage (optionally), Operator (DSO) medium-voltage and low-voltage distribution systems. This is a market participant and not a role in Harmonised Role Model. Resource Capacity Resource capacity mechanism operator is the party responsible to operate the resource capacity Mechanism Operator mechanism in a member state. It can either be the TSO or an independent party. Resource aggregator A party that aggregates resources for usage by a service provider for energy market services. Cost sharing calculator A party responsible for the mapping of the costs between areas and parties. Settlement responsible A party responsible for settling the costs.

Coordinated Capacity Coordinated Capacity Calculator is the entity or entities with the task of calculating transmission capacity, at Calculator regional level or above.

ReasonCodeTypeList ESMPEnumerations The coded motivation of an act.

Errors not specifically This code is used to identify errors that have not been specifically addressed in the Reason code list. It can identified be used at any level and refers to the level for which it has been identified.

Message fully accepted The message has been fully accepted for application processing.

Message fully rejected No part of the message has been accepted for application processing, e.g. Global position incomplete.

Message contains errors Part of the message contents, i.e. certain time series, has been accepted for application processing. It is at the time series level necessary to look at the time series level to determine the time series that have been rejected. The time series is excluded from the global position.

Time interval incorrect The schedule time interval is not within the contractual agreement or the period does not agree with the schedule time interval.

Sender without valid The sender has no current valid contract with the TSO. The message consequently will be fully rejected. contract

Schedule accepted The schedule of the recipient as presented has been completely accepted.

Schedule partially The schedule of the recipient as presented has been partially accepted. It is necessary to look at the time accepted series level to determine the changes (time series rejected, modified, etc.).

Schedule rejected The schedule of the recipient as presented has been totally rejected. The cause could be the non presentation of a counter part for the involved trades.

Time series not matching Time series mismatches.

Credit limit exceeded The contractual credit limit has been exceeded and as such the message has been rejected.

Time series fully The time series has been fully rejected. In the case of a confirmation report, this reason code is used in rejected conjunction with either A26 or A30.

Time series accepted The time series has been accepted but some time interval quantities have been rectified or zeroed out. with specific time interval errors

In party/Out party There is no contract for the parties indicated or the rules for cross border nominations are not being invalid respected. The time series has been rejected.

Area invalid The area is unknown or not allowed. The time series has been rejected.

A24 not applicable This code is no longer applicable.

A25 not applicable This code is no longer applicable.

Default time series The time series has been rejected and replaced with a default time series profile. This reason code may not applied be used in conjunction with A30.

Cross border capacity The cross border capacity has been exceeded. The time series has been rejected or adjusted. exceeded Counterpart time series This provides an indication that the time series has not got a counterpart time series. missing In the case of an Intermediate Confirmation Report this is advising the recipient that the time series may be rejected at nomination closure if the counterpart time series is not received. In the case of a Final Confirmation Report this is informing the recipient that the time series has been rejected because the counterpart time series has not been forthcoming. Counterpart time series The time series has been rejected as it does not match that of the counterpart who is considered by market quantity differences rules to be correct. Imposed Time series from The nominated party's time series has replaced the current time series. This reason code may not be used nominated party's time in conjunction with A26. series (party identified in reason text) Resolution inconsistency The resolution is not coherent with the time interval, or resolution not valid. Quantity inconsistency The quantity is not coherent. For example a time period with the same version number but different quantities or an non permitted number of digits after the decimal point, etc. Quantity increased The quantity has been increased in order to satisfy minimum constraints. Quantity decreased The quantity has been decreased in order to satisfy congestion constraints. Default quantity applied The default quantity has been applied as the current quantity does not satisfy contractual obligations. Quantities must not be The quantity proposed is illegal since signed values are only permitted in specific circumstances. signed values A47 not applicable This code is no longer applicable. Modification reason In an intraday transmission, the reason for the modification is as follows (in the reason text). Position inconsistency A position is missing or too many. Senders time series There is an error in the sender time series version, i.e. it could be superior to the message version or is version conflict inconsistent with the existing data. The time series has been rejected. Message identification The message identification is already in the receiving system. Or a higher version already exists. Message or version conflict rejected. Time series missing from A time series is not contained in a new version of the message. Message rejected. new version of message Receiving party The receiving party is incorrect. Message rejected. incorrect Global position not in The message does not balance out to zero. Market rules might require that the message is rejected. balance Time series The identification of the time series is duplicated or incorrect. Time series will be rejected. identification conflict Corresponding Time All corresponding time series must be netted. Time series rejected. series not netted

Deadline limit The deadline for receiving schedule messages has passed. Message or time series rejected. exceeded/Gate not open One to one nomination There is a one to one nomination inconstancy with the in/out parties or areas. Time series rejected. inconsistency Not compliant to local The level in which this is identified is not in compliance with local market rules. The level in question has market rules been rejected. Inter-area transit The inter-area transit schedule exceeds the nominated schedule for the same time interval. The inter-area schedule exceeds transit schedule is rejected. nominated schedule Currency invalid The currency is not in compliance with ISO 4217. Invalid business type The business type does not belong to the valid set of business types for the process in question. Time Series modified The time series has been modified. Resource Object Invalid The Resource Object defined in the document is not valid. Reserve object Technical Reserve objects aggregated values are not within technical/prequalified limits limits exceeded Planned reserves do not Planned reserves do not correspond with contractual data. correspond with contractual data Limit Data is not Limit Data is not available. available Reserve Object not Reserve Object is not qualified for reserve type. qualified for reserve type Mandatory attributes Mandatory attributes missing. missing Curtailment The capacity in question has been curtailed. Linked bid rejected due The bid in question has been rejected because an associated bid has been unsuccessful. to associated bid unsuccessful Original bid divided to The original bid quantity has been divided to enable it to be accepted. permit acceptance Bid accepted The bid in question has been accepted. Auction Status The information in the Reason Text provides auction status information. Right status information The information in the Reason Text provides status information concerning the transmission rights in question. Agreement identification There is an inconsistency between the contract type and the agreement identification. inconsistency Dependency matrix not There is an inconsistency between the document contents and the dependency matrix. respected Sender identification

The identification of the sender or the sender/role combination is invalid. and/or role invalid Process type invalid The process type does not figure in the list of valid process types for this document. Domain invalid The domain does not figure in the list of valid domains for this document and process. Matching period invalid The period is not within the expected limits. In/Out area inconsistent The in and out area does not figure within the domain specified. with domain Disagree with matching The matching results provided are not consistent. results Confirmation ignored due The report has been ignored since a higher version has been received. to higher version already received Confirmation without The report has been successfully matched without any changes. adjustment (time series have been matched without change) Confirmation with The report has been matched but required adjustment. adjustment (time series have been modified) For action (only in The report in question is only for action in an intermediate stage. intermediate confirmation - time series need mutual agreement and action) Time series matched The time series has been successfully matched. Time series ignored The time series has been ignored and not matched since it does not figure in a counterparty transmission. (note: this can only All are correctly equal to zero. apply to time series that are set to zero - see matching principles) Modification proposal The document is a proposal for change before finalization. (intermediate confirmation) Expected document not The document that is expected has not been received within the expected timeframe. received Not possible to send The document that is due cannot be transmitted within the required timeframe. An estimated time of document on time, but transmission is provided. estimated delivery time is provided Not possible to send The document that is due cannot be transmitted within the required timeframe. The time of transmission of document on time, and the document is unknown. furthermore no expected time of return to normal situation Document cannot be The receiving system cannot process that document in question. processed by receiving system Complementary Additional text is provided in order to further explain a condition, for example to provide details of an information outage.

Technical constraint A technical constraint has been applied. Force majeure Curtailment due to Force Majeure. A code that enables the identification of the curtailment reason for curtailment settlement purposes. Network security Curtailment due to network security reasons A code that enables the identification of the curtailment reason curtailment for settlement purposes. Auction cancelled The auction has been cancelled. Incomplete document The document is incomplete and cannot be processed. Accounting Point (tie- The document is incomplete as a time series for an accounting point is missing. line) Time Series missing Meter data Time series The document is incomplete as a time series for meter data is missing. missing Estimated values not The document is in its initial form and estimated values are not allowed. allowed in first transmission No quantity values No quantity values are allowed for a quality that is not available. allowed for a quality that is not available Time series accepted Time series accepted. Auction without bids The auction has terminated without any bids being submitted. The ReasonText may provide the being entered identification of the auction in question. Data not yet available It is not possible to perform the necessary action since the required data for this action is not yet available. Bid not accepted The bid in question has not been accepted. Initiator area problem The problem concerns the initiator area. Cooperating area problem The problem concerns the cooperating area. Communication status The status within the system indicates that the communication capability is currently active. currently active Communication status The status within the system indicates that the communication capability is currently inactive. currently inactive Communication status The status within the system indicates that the communication capability is currently restricted. currently restricted Problem associated with The problem concerns both areas. both areas Tender unavailable in A tender that has been requested is no longer available in the MOL. MOL list Price based on The price is based on a preliminary exchange rate. preliminary exchange rate Failure A failure has occurred.

Foreseen maintenance Maintenance is foreseen. Shutdown A shutdown has occurred. Official exchange rate The official exchange rate has been approved. approved System regulation The information provided regards a regulation for system purposes. Frequency regulation The information provided regards a regulation for frequency purposes. Load flow overload Situation in the grid, where loading of a certain grid element, e.g. overhead line, is above defined technical limits. Voltage level adjustment A TSO activity to maintain an acceptable voltage profile throughout the network. This is achieved by balancing of the respective reactive power requirements of the network and the customers. Emergency situation Curtailment due to emergency situation. A code that enables the identification of the curtailment reason for curtailment settlement purposes. Calculation process The calculation has not been performed. failed No capacity constraint The market position is such as no capacity constraint is applied to limit the cross border exchanges. impact on the market Special Condition Special condition need to be fulfilled. Unverified Missing or not validated data. Verified Data has successfully passed the verification process. CGM inconsistency Describes an element which was not found in the CGM. Network dictionary Describes an element which was not found in the network dictionary. inconsistency Capacity reduced by TSO Describes a capacity that was reduced by a TSO. Overload Describes an N-k or N state overload. GLSK limitation Describes a situation in which there is not enough power adjustment in the GLSK file to cover the capacity. Voltage constraint Describes an N-k or N state voltage violation. Angle constraint Describes an N-k or N state angle violation. Stability Describes a situation in which the dynamic behaviour of the network violated. Loadflow divergence Describes a network situation in which the provided capacity values are part of a load flow divergence situation. Exclusion for SoS This is the adjustment applied to the capacity of a branch to have a minimum RAM (Remaining Available reasons

Margin) available for commercial exchanges. Constraint by the market A constraint due to market restrictions. Ordinary The contingency is ordinary (methodology for coordinating operational security analysis, article 6). Exceptional The contingency is exceptional (methodology for coordinating operational security analysis, article 6). Out of range The contingency is out of range (methodology for coordinating operational security analysis, article 6). Internal congestion A temporary congestion within a bidding zone or scheduling area. Operational security Operational security constraints identified by TSOs. constraints Estimated value Describes a situation where a calculation process has failed and extrapolated or interpolated values will be applied. Balancing Activated for balancing purposes. Values shared Values of this time series are also valid for counter-party. Outside price limits The offered price is not within the valid limits. Previous timeframe data In case of processing issue, sent data are based on the previous timeframe. MOL merging succesful The merging of the Merit Order List has been successfully processed. MOL merging failed The merging of the Merit Order List has failed. Because of redispatching Because of redispatching according to Article 2(26) of Commission Regulation (EU) 543/2013 Because of Because of countertrading according to Article 2(13) of Commission Regulation (EU) 543/2013 countertrading Because of other Not available because of any remedial action. remedial action Insufficiency of The reserve capacity is not sufficient. reserves Unavailability of The unit providing the reserve is subject to technical unavailability. reserve providing unit Unavailability of Unavailability of tools to detect predetermined system conditions that have a high probability of causing automatic protection unusual stress on the power system, for which pre-planned remedial action is considered necessary or for systems which automatic protective actions may be triggered such as special protection schemes or automatic load shedding. Physical cable or Limitation due to physical cable or converter restrictions. converter restrictions Constraints in Limitation due to constraints in controller systems. controller systems Adjusted because of The capacity is adjusted because of an expected violation of operational security limits of physical expected violation of transmission assets.

| operational security |  |
| --- | --- |
| Adjusted because already considered remedial actions are assessed as not sufficient | The capacity is adjusted because the remedial actions were assessed as not sufficient or ineffective to avoid the expected violation of operational security limit(s). |
| Time series partially accepted | The time series is partially accepted. |
| Demand fully netted | Demand was fully netted against other demand(s). |
| Bid activated in same direction | One or several bids were activated in the same direction within the same uncongested area as the demand. |
| Optimization in progress | The activation optimisation framework is being executed. |

StatusTypeList ESMPEnumerations The condition or position of an object with regard to its standing.

Intermediate The document is in a non finalized state.

Final The document is in a definitive state.

Deactivated The object being reported has been deactivated.

Reactivated The object being reported has been reactivated.

Active The object being reported is currently active.

Available The volumes (one or more) are available.

Activated The quantities in the time series have been activated.

In process The quantities in the time series are in the process of activation (an activation request has been made).

Cancelled The tender indicated in the time series has been completely cancelled. In this case the resources are no longer available to all Acquiring System Operators

Ordered The quantities in the time series are to be activated.

Unavailable The volumes (one or more) are unavailable.

RGCE agreed The information has been agreed within the ENTSO-E Regional Group Continental Europe process.

Withdrawn The information has been withdrawn by the submitter.

Creation The action requested to be carried out is the creation of a new object.

Update The action requested to be carried out is the update an existing object.

Deactivation The action requested to be carried out is to deactivate an existing object.

Reactivation The action requested to be carried out is to reactivate a previously deactivated object. Preventive The remedial action is applied to prevent an outage. Curative The remedial action is applied after an outage has occurred, in order to maintain the operational security. Automatic The remedial action being described is applied by an automation when an outage occurs. Open The action being described consists of disconnecting the network element to the transmission network. Close The action being described consists of connecting the network element to the transmission network. Stop The action being described consists of stopping the production or consumption connected to a network element. Start The action being described consists of starting the production or consumption connected to a network element. Relative The quantity being described is a relative value to an initial state. Absolute The quantity being described is an absolute value. Curative or preventive The remedial action can be applied to prevent an outage or after an outage has occurred in order to maintain the operational security. Unshared bid Used to indicate that the bid cannot be shared. Pre Processed to be process Substituted Substituted pre-processing data. Modified Modified pre-processing data by RSC or CGMA platform. Result Result Not satisfied The need described in the time series cannot be satisfied. Rejected The document rejected by one or more parties. Preliminary Indicative information only for initial planning purposes. Planned Is planned. Confirmed The status is confirmed. Shall Be Used The object defined in the series shall be used. Could Be Used The object defined in the series could be used. Proposed The status of the information is proposed.

Individual Network Data The network data provided in the document or series concerns the the unique TSO area describes by the document or series. Common Network Data The network data provided in the document or series concerns the whole area describes by the document or series. Setpoint schedule The code for the power setpoint mode of operation of the HVDC link. Proportional external The code for the proportional external signal mode of operation of the HVDC link. signal AC emulation The code for the AC emulation mode of operation of the HVDC link. Importing element An importing network element in which the flow measurement enters. Exporting element An exporting network element from which the flow measurement comes out. To be optimized Describes an element which needs to be optimized by an optimization process. To be monitored Describes an element which needs to be monitored by an optimization process. To be included in Describes an element which needs to be taken into account in a capacity calculation process. capacity calculation Relative to previous The quantity being described is a relative value to a previous point in time. point in time For flow optimization Describes an element which needs to be optimized by a flow optimization process. For voltage optimization Describes an element which needs to be optimized by a voltage optimization process. Presolved Describes an active constraint that limits the exchanges. It is part of the presolved domain. Not available if linked Bid not available if linked bid activated. bid activated Not available if linked Bid not available if linked bid rejected. bid rejected Not available for DA if Bid not available for direct activation if linked bid subject to direct activation. linked bid subject to DA Not available for DA if Bid not available for direct activation if linked bid subject to scheduled activation. linked bid subject to SA Not available if linked Bid not available if linked bid subject to scheduled activation. bid subject to SA Not available if linked Bid not available if linked bid subject to direct activation. bid subject to DA Primary market A value is traded for the first time. Secondary market A value is traded for the second or next times between two parties. Interesting Describes an asset which is considered as interesting.

Relevant Describes an asset which is considered as relevant.

Conditionally available Bid available as long as none of the conditions associated with the linked bids materialise.

Conditionally Bid unavailable as long as none of the conditions associated with the linked bids materialise. unavailable

Available if linked bid Bid available if linked bid activated. activated

Available if linked bid Bid available if linked bid rejected. rejected

Available if linked bid Bid available if linked bid subject to scheduled activation. subject to SA

Available if linked bid Bid available if linked bid subject to direct activation. subject to DA

Available for DA if Bid available for direct activation if linked bid subject to direct activation. linked bid subject to DA

Available for DA if Bid available for direct activation if linked bid subject to scheduled activation. linked bid subject to SA

Delta Describes a status representing a difference between two values.

ProcessTypeList ESMPEnumerations Indicates the nature of process that the document addresses.

Day ahead The information provided concerns a day ahead process.

Intra day incremental The information provided concerns an intra day schedule.

Inter-area transit The information provided concerns an inter area transit schedule. The rules governing this process are market dependent

System operation closure The information provided concerns the closure of a given period of both scheduled and regulation information.

Metered data aggregation The information provided concerns the aggregation process of metered information.

Imbalance settlement The information provided concerns the imbalance settlement for a given period for a balance responsible party or parties.

Capacity allocation The information provided concerns the capacity allocation process.

Central reconciliation The process carried out to finalise the imbalance settlement based on actual metered values against provisional values from profiled metering points.

Released capacity The process concerns the notification of capacity rights that are being released. allocation

Proposed capacity The process concerns the proposed capacity to be allocated for a given border. allocation

Agreed capacity The process concerns the capacity that has been agreed for allocation for a border. allocation Long term The process concerns scheduling all schedules except daily and intraday contracts. Post scheduling The process concerns the adjustments made to previous schedules after the period of execution. adjustment Forecast The data contained in the document are to be handled in short, medium, long term forecasting process. Capacity determination The process of determining the capacity for use. Realised The process for the treatment of realised data as opposed to forecast data. Schedule day The process concerns the day ahead, intraday and eventually ex-post scheduling in a single document. The schedule will be transferred within the total position including historic information. Intraday total This process concerns an intraday schedule which contains the accumulated day ahead and intraday current position. Intraday accumulated This process concerns a single intraday schedule process where only intraday evolutions occur through version changes. SOMA process System Operator meter alignment process. SOVM process System Operator validated measurement process. RGCE accounting process The document provides ENTSO-E Regional Group Continental Europe accounting process information. CCSR RGCE Settlement The process concerns the control center settlement report for the whole of the ENTSO-E Regional Group Continental Europe. CBSR Settlement The process concerns the control block settlement report. CASR Settlement The process concerns the control area settlement report. Outage information The process concerns TSO publication of outages on its power system. Reserve resource process The process being described is for general reserve resources. Primary reserve process The process being described is for primary reserves. Secondary reserve The process being described is for secondary reserves. process Tertiary reserve process The process being described is for tertiary reserves. Week ahead The process being described is for the week ahead. Month ahead The process being described is for the month ahead. Year ahead The process being described is for the year ahead. Contracted The process being described is for contracted information.

Network information The process being described is for network information. Creation The process being described is for the creation of information. Modification The process being described is for the modification of information. Deactivation process The process being described is for deactivation of information. Synchronisation process The process being described is for the synchronisation of information. Intraday process The process being described is for intraday process. Redispatch process The process being described is for redispatch activation. Activation history The process being described is for the provision of an activation history. process Flow based domain The information provided concerns the flow-based process in day ahead. constraint day-ahead Flow based domain The information provided concerns the flow-based process in intraday. constraint intraday Two days ahead Two days ahead. Replacement reserve A process being described is for replacement reserves (RR) to restore or support the required level of frequency restoration reserves. Manual frequency A process being described is for manual frequency restoration reserves (mFRR). restoration reserve Day-ahead capacity The process run at the day-ahead timeframe to determine the capacity for use. determination Intraday capacity The process run at the intraday timeframe to determine the capacity for use. determination Long term capacity The process run at the long term timeframe to determine the capacity for use. determination Automatic frequency A process being described is for automatic frequency restoration reserves (aFRR). restoration reserve Frequency containment A process being described is for frequency containment reserves (FCR). reserve Common Grid Model (CGM) The process for merging individual grid models to form the common grid model. merging process Coordinated security The process being described is used for coordinated security analysis. analysis Exchange of master data A process for exchanging master data. Frequency restoration The process being described is for general frequency restoration reserve. reserve

FSKAR settlement The information provided concerns the Financial Settlement of K?f, ACE and ramping period settlement for a given period.

mFRR capacity market Processes related to the Reserve option market to assure that there are enough available reserves for the manual FRR market.

Internal trade reporting The process related to internal trade reporting.

Scheduled activation mFRR being subject to scheduled activation. mFRR

Direct activation mFRR mFRR being subject to direct activation.

Registration A process related to the registration and management of object information.

Imbalance Netting The process described is for imbalance netting.

Criteria application for The process describes criteria application for instantaneous frequency. instantaneous frequency

Criteria application for The process describes criteria application for frequency restoration. frequency restoration

Cost sharing The process describes the cost sharing process for costly remedial actions.

Central selection aFRR aFRR subject to central selection of bids for activation.

Local selection aFRR aFRR subject to local selection of bids for activation.

Common grid model The process for aligning bidding zone net positions. alignment

Pan-European The process for verifying bidding zone net positions. verification function

Outage planning The process being described is used for outage planning coordination. coordination

Short term adequacy The process being described is used for short term adequacy calculations.

Coordinated capacity The process being described is used for coordinated capacity calculation. calculation

| MessageTypeList ESMPEnumerations The coded type of a document. The message type describes the principal characteristic of a document. This enumeration is used in the XML instances based on IEC 62325. |  |
| --- | --- |
| Balance responsible schedule | A schedule which has been prepared by a balance responsible party providing planned schedule information. |
| Allocated capacity schedule | A schedule which has been prepared by a capacity allocator providing allocated capacity. |
| Balance area schedule | A schedule that provides the planned schedule information for a balance area. |

System Operator area A compilation of all external schedules concerning two System Operator areas or a connector concerning schedule two System Operator of all balance responsible parties. Control block area A compilation of all the exchange programs of all control areas for one control block with all neighbouring schedule control areas of a neighbouring control block. Coordination center area A compilation of the exchange programs of all exchange blocks divided into UCTE south and north. schedule Intermediate An intermediate confirmation report that may be produced between final cutoffs. confirmation report Final confirmation A final confirmation report that is produced after a final cutoff. report Finalised schedule A compilation of a set of schedules that have been finalized after a given cutoff. Regulation data report A compilation of the time series employed on a given day to ensure the balance of the system. Aggregated energy data A compilation of the time series of all the meter readings or their equivalent for a given period. report Imbalance report The report containing the complete situation of a given period for a party and including the schedules, regulation data and actual or calculated readings. Interconnection Capacity Document for cross-border capacity exchanges. Resource Provider A document providing the schedules for resource objects submitted by a resource provider. Resource Schedule Acquiring System A document providing reserve purchases submitted by an Acquiring System Operator. Operator Reserve Schedule Anomaly Report A document providing anomaly information for the receiving party to correct. Acknowledgement Document A document providing acknowledgement information. Confirmation report A document providing confirmation information. Capacity for Resale A document providing information about capacity for resale. Approved Capacity A document to approve a capacity transfer. Transfer Capacity transfer A document notifying a capacity transfer. notification Transmission rights A document providing the portfolio of the transmission capacity rights of a market participant. portfolio Allocations A document providing the capacity allocations for a border. Bid document A document providing bid information. Allocation result A document providing the allocation results of an auction. document

Capacity document A document providing capacity information. Rights document A document providing transmission capacity rights information. Generation availability This document contains information related to energy availability. schedule Cross border schedule This document contains the cross border schedules for all the borders of a given country where energy is exchanged. Agreed capacity The capacity agreed between parties. Proposed capacity The capacity proposed for agreement between parties. System vertical load The sum of all flows out of the transmission grid via directly connected transformers and lines to distribution grids and end consumers as known by the System Operator. Escalation document A document which requesting the escalation of a situation. Trouble shooting A document providing trouble shooting information for the resolution of a problem. document Deactivation document A document providing deactivation information. Reserve tender document The document that is used for the tendering for reserves within the ERRP process. Reserve Allocation The document used to provide the results of a Reserve auction. Result Document SATCR activation The document is used to provide the activation of reserves through the SATCR process. DATCR activation The document is used to provide the activation of reserves through the DATCR process. Activation response The document is used to provide a response to a request to activate reserves. Tender reduction The document is used to provide information concerning the reduction of a previously submitted tender. MOL Document The document is used to provide Merit Order List information. Price Document The document is used to provide market price information. Measurement Value The document is used to provide measurement information from measurement devices. Document SOAM Document The document is used to provide system operator accounting data for matching. SOVA Document The document is used to provide system operator validated accounting data. CCVA Document The document is used to provide coordination center validated accounting data. Daily settlement The document is used to provide daily settlement information. document Weekly settlement The document is used to provide weekly settlement information. document

Capacity Auction The document is used to provide capacity auction specification information. Specification Document Market Coupling Results The document is used to provide the results of a market coupling auction. Document Outage publication The document is used to provide the outage information for publication. Document Forced generation outage A document providing information on forced generation outages. Document Summarised Market A compilation of all external schedules concerning two Market Balance Areas of all balance responsible Schedule parties. Compensation Program A schedule that provides the schedule information for the compensation of unintended deviation. Schedule Load Frequency Control A schedule that provides the schedule information for the Load Frequency Control Program of a Control Program Schedule Area or a Control Block. Timeframe Independent A compilation of all external Timeframe Independent Schedules concerning two System Operators. Schedule Information request An information request being made concerning some specific information. status request for a A status request concerning the position of an object independently of any ongoing processes. position independently from a specific process Estimated Net Transfer The estimated net transfer capacity for a given border. Capacity Compensation rights The capacity rights that have been allocated as compensation. Redispatch notice A notice to confirm the actions agreed between System Operators to resolve a congestion situation through redispatch. Tender reduction A response to a tender reduction request that provides corrections to the initial document. response System total load Total load', including losses without power used for energy storage, is equal to generation deducted with exports, added with imports and deducted with power used for energy storage. Final MOL A document providing the information concerning the situation of the MOL at the end of an activation period. Resource Provider A document providing the schedules for production/consumption for resource objects submitted by a Schedule for resource provider. production/consumption Installed generation per A document providing the installed generation per generation type. type Wind and solar forecast A document providing the forecast of wind and solar generation. Load forecast margin A document providing the load forecast margin for a period. Generation forecast A document providing the generation forecast for a period.

Reservoir filling A document providing information concerning the filling of reservoirs. information Actual generation A document providing the actual generation for a period. Wind and solar A document providing the generation of wind and solar energy for a period. generation Actual generation per A document providing the actual generation per generation type for a period. type Load unavailability A document providing the unavailability of units providing load on the network. Production A document providing the unavailability of production units providing energy to the network. unavailability Transmission A document providing the unavailability of transmission capacity on the network. unavailability Offshore grid A document providing the unavailability of an offshore grid infrastructure to the network. infrastructure unavailability Generation A document providing the unavailability of generation units providing energy to the network. unavailability Contracted reserves A document providing the reserves contracted for a period. Accepted offers A document providing the offers of reserves that have been accepted for a period. Activated balancing A document providing the quantities of reserves that have been activated for balancing. quantities Activated balancing A document providing the prices of the reserves that have been activated for balancing. prices Imbalance prices A document providing the prices of reserves due to imbalance for a period. Imbalance volume A document providing the volume of the imbalance for a period. Financial situation A document providing the financial situation for reserves. Cross border balancing A document providing the cross border balancing requirements for a period. Contracted reserve A document providing the price of reserves contracted for a period. prices Interconnection network A document providing information on the expansion of the interconnection network. expansion Counter trade notice A document providing information on counter trades for a period. Congestion costs A document providing the cost of congestion for a period. DC link capacity A document providing the DC links for a period. Non EU allocations A document providing allocations made to non EU member states.

Configuration document A document providing configuration information. Redispatch activation A document enabling the activation of a redispatch notice. document Detailed activation A document enabling a detailed history of activations. history document Aggregated activation A document enabling an aggregated history of activations. history document HVDC Link constraints A document providing the information concerning the maximum and minimum active power flow through each link can limited. HVDC Configuration A document providing the information concerning the power set point. The mode in which the HVDC is managed. HVDC Schedule A document providing the information for operating DC links. EIC code request A document providing the information requesting a new EIC code. EIC code information A document providing EIC information in a central registry exchange or information to an EIC participant. EIC code publication A document providing EIC publication information in a web site publication of a limited set of information. Critical network element A document providing all the elements necessary for the capacity coordinator to determine the transfer determination capacity and the associated critical network elements. Critical network element A document providing all the elements necessary for the market information aggregator and TSOs to know publication the critical network elements which limit the transfer capacity. Flow based domain A document providing the capacity domain and its limits available for the TSO. Flow based domain A document providing the capacity domain and its limits available for the market. publication Flow based domain market A document providing the capacity domain and its impacts on the market to be published. impact publication Anonymized flow based A document providing all the relevant flow based parameters in case of flow based capacity allocation. parameters publication Critical network element A document providing the critical network elements and its impacts on the market to be published. market impact publication Weather document An estimation or prediction in advance of the weather by analysis of meteorological data and the results of what actually happened with the weather. Energy prognosis A document to provide the prognosis of energy production/load for a given period. document Network constraint A document providing the network constraint situations used for the load flow studies. A network constraint document situation includes contingencies, monitored elements and remedial actions. Aggregated netted A document used to report aggregated netted external market schedules for a given border. external market schedule document

Aggregated netted A document used to report aggregated netted external TSO schedules for a given border. external TSO schedule document Reporting status market A document used to report the status of aggregated netted external market schedules, aggregated netted document external TSO schedules and compensation program schedules on a given border. Reporting information A document used to report the information concerning aggregated netted external schedules, aggregated market document netted external market schedules, aggregated netted external TSO schedules, compensation program schedules, netted area position schedules and netted area AC position schedules to an interested party. Status request for a A document requesting the provision of a reporting information document. reporting information market document Reserve need document Used by a TSO to send its reserve needs. Generation and load A document providing the values of the generation and load shift keys to be used on network model. shift keys document Offers to be activated A document containing the outcome of the process, with the list of offers that are to be activated by the TSO concerned and the results for its reserve needs. Clearing price A document containing the outcome of the process, with the clearing prices for a period. Security analysis report A document providing a report on a performed security analysis. Aggregated netted A document used to report aggregated netted external schedules for a given border. external schedule document External TSO schedule A document used to report external TSO schedules for a given border or interconnector. Move of scheduled A document indication a move of scheduled production. production PS&LC results document A document providing Pole Splitting & Loss Calculation results. Notification data market A document used to notify data to any information receiver. document Additional Constraint A document describing additional constraints for a capacity calculation process. document Operational state A document used for exchanging operational states for grid assets. document Published offered A document providing the most recent values of offered capacity. capacity Market result document Published prices and volumes Area Configuration A document containing the definition of areas. document Area Composition A document containing the relations between areas, i.e which Metering Grid Areas a Bidding Zone document composed of. Connected Areas document A document containing which other areas an area is connected to i.e. which Metering Grid Areas a

Metering Grid Area is connected to. Settlement document A document providing settlement information. Imbalance prognosis A document to provide the prognosis of energy imbalances for a given period. document Complete set of bids Submission of complete set of bids. If there are existing bids, they should be replaced. Merged MOL notice A notice providing information on the MOL merging process. K-factor document A document providing K-factor values. Settlement coordination A document providing settlement information for coordination between different parties. document Financial settlement A document providing financial settlement information. document Bid availability A document providing the detailed reasons for changing the availability or volume of a bid. document Resource capacity unit A document providing information about resource capacity units. document Other market information A document providing other market information. Message partially The detailed transactions of the received document are partially accepted. It is necessary to look at the accepted detailed (transaction) level to determine if the transaction is accepted, rejected etc. Requested capacity A document providing requested capacity (e.g. ATC, CZCL) value.

Compound types

ESMP_DateTimeInterval ESMPDataTypes This datatype enables to express the start date and time, and the end date and time of a time interval with a specific pattern. This pattern is the YYYY-MM-DDThh:mmZ. start 1..1 YMDHM_DateTime The start date and time of the interval with a minute resolution. end 1..1 YMDHM_DateTime The end date and time of the interval with a minute resolution.

Datatypes

MeasurementPointID_String ESMPDataTypes The coded identification of a domain covering a number of related objects, such as metering point, accounting point, etc. In the ESMP context, it is an authorized issuing office that provides an agreed identification coding scheme for measurement point identification. codingScheme 1..1 CodingSchemeTypeList DomainQualification.

value 1..1 String Main Core value Space.

PartyID_String ESMPDataTypes The identification of an actor in the energy market. In the ESMP context, it is an authorized issuing office that provides an agreed identification coding scheme for market participant identification. codingScheme 1..1 CodingSchemeTypeList DomainQualification. value 1..1 String Main Core value Space.

MarketRoleKind_String ESMPDataTypes The identification of the role played by a party. value 1..1 RoleTypeList Main Core value Space.

ESMP_DateTime ESMPDataTypes In ESMP, the dateTime shall be expressed in UTC as YYYY-MM-DDThh:mm:ssZ. value 1..1 DateTime Main Core value Space.

ReasonCode_String ESMPDataTypes The coded motivation of an act. value 1..1 ReasonCodeTypeList Main Core value Space.

Status_String ESMPDataTypes The identification of the status of an object. value 1..1 StatusTypeList Main Core value Space.

ProcessKind_String ESMPDataTypes The coded identification of the nature of process. value 1..1 ProcessTypeList Main Core value Space.

ReasonText_String ESMPDataTypes The textual explanation of an act as a string of characters.

value 1..1 String Main Core value Space.

ID_String ESMPDataTypes A code to uniquely distinguish one occurrence of an entity from another. In the ESMP context, the code is defined either by: - an emitting company that provides an agreed identification unique within a business context such as capacity auction identification, market agreement identification, etc. - a party (originator of the exchange) that provides a unique identification in the framework of a business exchange such as document identification, time series identification, bid identification, ... value 1..1 String Main Core value Space.

ESMPVersion_String ESMPDataTypes In ESMP, the coded value is restricted to digits. A code that distinguishes one evolution of an identified object from another. Information about a specific object may be sent several times, each transmission being identified by a different version number. value 1..1 String Main Core value Space.

MessageKind_String ESMPDataTypes The coded type of a document. value 1..1 MessageTypeList Main Core value Space.

YMDHM_DateTime ESMPDataTypes In ESMP, the date and time is expressed as "YYYY-MM-DDThh:mmZ", which conforms with ISO 8601 UTC time zone. This date and time is without the seconds. value 1..1 DateTime The date and time as "YYYY-MM-DDThh:mmZ", which conforms with the ISO 8601 UTC time zone.